## Table1
Table 1. Summary results of electron microprobe homogeneity tests.
SCHORL 112566.1 |  | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | B2O3 | ZnO | Li2O | F | OH | -O 2 = 2F- | total (m/100m)
Potsdam
Fragment 1 | mean | 32.1975 | 0.65875 | 32.0125 | 14.8725 | 1.0484 | 0.18673 | 0.15923 | 2.115 | 0.0488 | 10.0375 | nd | nd | nd | nd | – | 93.3369
| 1s (n = 4) | 0.2938 | 0.050232 | 0.12696 | 0.32097 | 0.21568 | 0.033276 | 0.030282 | 0.080467 | 0.015142 | 0.43962
Fragment 5 | mean | 32.34 | 0.5082 | 32.2 | 14.7175 | 1.0567 | 0.22695 | 0.1677 | 2.0975 | 0.0343 | 10.1 | nd | nd | nd | nd | – | 93.4488
| 1s (n = 4) | 0.2513 | 0.021181 | 0.11336 | 0.49952 | 0.069881 | 0.026697 | 0.017139 | 0.068693 | 0.028708 | 0.49482
Fragment 9 | mean | 32.5 | 0.64877 | 31.8525 | 14.15 | 1.0295 | 0.18278 | 0.15618 | 2.0625 | 0.03555 | 10.1675 | nd | nd | nd | nd | – | 92.7853
| 1s (n = 4) | 0.31377 | 0.06 | 0.35478 | 0.76286 | 0.094274 | 0.023464 | 0.029295 | 0.067961 | 0.031362 | 0.28332
Fragment 12 | mean | 32.5075 | 0.49402 | 32.0825 | 14.5975 | 1.0665 | 0.21755 | 0.14228 | 2.1225 | 0.039075 | 10.3675 | nd | nd | nd | nd | – | 93.6369
| 1s (n = 4) | 0.5915 | 0.073192 | 0.18485 | 0.49696 | 0.18254 | 0.026007 | 0.029007 | 0.064952 | 0.031288 | 0.22016
Fragment 14 | mean | 32.48 | 0.68475 | 31.6075 | 14.9925 | 0.87518 | 0.25838 | 0.1294 | 2.1175 | 0.051775 | 10.01 | nd | nd | nd | nd | – | 93.207
| 1s (n = 4) | 0.56431 | 0.066565 | 0.16902 | 0.37745 | 0.068843 | 0.023482 | 0.047053 | 0.04603 | 0.019635 | 0.2569
Fragment 15 | mean | 32.2825 | 0.66253 | 32.01 | 14.1275 | 1.1782 | 0.18082 | 0.13087 | 2.155 | 0.062675 | 10.0375 | nd | nd | nd | nd | – | 92.8276
| 1s (n = 4) | 0.36935 | 0.085796 | 0.3167 | 0.33327 | 0.16379 | 0.038744 | 0.05827 | 0.050249 | 0.015607 | 0.22061
Schorl grand mean |  | 32.365 | 0.63045 | 31.99 | 14.55 | 1.0158 | 0.2066 | 0.15415 | 2.125 | 0.0448 | 10.11 | [5 empty] | 93.21
| 1SD (n = 24) | 0.4448 | 0.10195 | 0.30404 | 0.60426 | 0.17323 | 0.041515 | 0.041224 | 0.071424 | 0.027206 | 0.36621
| 1SD (%) | 1.3735 | 16.726 | 0.9513 | 4.1455 | 16.6188 | 19.8765 | 27.9281 | 3.3824 | 59.9744 | 3.6187
Madison
Fragment 1 | mean | 33.4251 | 0.53742 | 34.3281 | 15.0486 | 1.126 | 0.22 | 0.15 | 2.01 | 0.03 | 9.23 | 0.24808 | 0.12 | 0.38998 | 1.8925 | 0.16418 | 98.5916
| 1s (n = 4) | 0.055545 | 0.022099 | 0.13393 | 0.075773 | 0.064654 | 0.01 | 0.01 | 0.07 | 0.01 | 0.63727 | 0.055828 |  | 0.017526 | 0.55255
Fragment 2 | mean | 33.2319 | 0.53758 | 34.4208 | 14.6303 | 1.2309 | 0.21 | 0.14 | 2.03 | 0.05 | 9.3026 | 0.31737 | 0.12 | 0.437 | 1.4888 | 0.18398 | 97.9632
| 1s (n = 4) | 0.15486 | 0.020621 | 0.10711 | 0.14823 | 0.059229 | 0.01 | 0.01 | 0.06 | 0.01 | 0.41925 | 0.048159 |  | 0.020664 | 0.44337
Fragment 3 | mean | 33.348 | 0.57223 | 33.7406 | 15.5247 | 1.1712 | 0.29 | 0.17 | 2.06 | 0.04 | 10.0111 | 0.24003 | 0.12 | 0.47606 | 1.1694 | 0.20042 | 98.7328
| 1s (n = 4) | 0.22096 | 0.057737 | 1.5191 | 1.5944 | 0.22363 | 0.19 | 0.05 | 0.16 | 0.01 | 0.43319 | 0.064276 |  | 0.098299 | 0.12835
Fragment 4 | mean | 33.4163 | 0.52188 | 34.1923 | 14.8521 | 1.1891 | 0.19 | 0.13 | 2.02 | 0.04 | 9.7727 | 0.28065 | 0.12 | 0.39396 | 1.5071 | 0.16586 | 98.4603
| 1s (n = 4) | 0.1413 | 0.017103 | 0.16416 | 0.12651 | 0.076933 | 0.02 | 0.02 | 0.04 | 0 | 0.45726 | 0.072195 |  | 0.019362 | 0.54786
Fragment 5 | mean | 32.8409 | 0.56735 | 34.2857 | 14.5734 | 1.2234 | 0.2 | 0.13 | 1.97 | 0.04 | 10.1725 | 0.22938 | 0.12 | 0.43256 | 1.9762 | 0.18211 | 98.5793
| 1s (n = 4) | 0.16148 | 0.017669 | 0.047474 | 0.12403 | 0.039025 | 0.01 | 0.01 | 0.06 | 0.01 | 0.81449 | 0.13044 |  | 0.0060666 | 0.55701
Fragment 6 | mean | 33.3731 | 0.54626 | 34.3925 | 14.7281 | 1.1992 | 0.18 | 0.13 | 2.05 | 0.04 | 9.342 | 0.25795 | 0.12 | 0.42179 | 1.6763 | 0.17757 | 98.2797
| 1s (n = 4) | 0.15666 | 0.012421 | 0.099723 | 0.126 | 0.0418 | 0.02 | 0.01 | 0.04 | 0.01 | 0.71798 | 0.081741 |  | 0.028967 | 0.36796
Schorl grand mean |  | 33.2726 | 0.54712 | 34.2266 | 14.8929 | 1.19 | 0.21 | 0.14 | 2.02 | 0.04 | 9.6385 | 0.26224 | 0.12 | 0.42523 | 1.6184 | 0.17902 | 98.43
| 1s (n = 24) | 0.24936 | 0.031257 | 0.60415 | 0.67065 | 0.099982 | 0.08 | 0.03 | 0.08 | 0.01 | 0.64979 | 0.076926 |  | 0.04889 | 0.49086
| 1s (%) | 0.74946 | 5.7131 | 1.7651 | 4.5031 | 8.402 | 37.25 | 17.8 | 3.99 | 22.49 | 6.7416 | 29.3339 |  | 11.4974 | 30.3304
Dyar et al. (2001) | mean | 33.4333 | 0.57 | 33.1 | 17.3 | 1.2033 | 0.21333 | 0.11333 | 1.9233 | 0.023333 | *11.4 | nd | nd | nd | nd | – | 87.88
DRAVITE 108796.1
Potsdam
Fragment 1 | mean | 33.0525 | 1.5802 | 20.875 | 15.625 | 0.0847 | 7.8575 | 2.4125 | 1.6025 | 0.0953 | 9.6025 | nd | nd | nd | nd | – | 92.7876
| 1s (n=4) | 0.30776 | 0.063519 | 0.18473 | 0.3881 | 0.099006 | 0.081662 | 0.11476 | 0.038971 | 0.028131 | 0.32058
Fragment 2 | mean | 33.3875 | 1.5248 | 22.375 | 13.7575 | 0.02835 | 8.2825 | 2.3 | 1.71 | 0.062575 | 10.435 | nd | nd | nd | nd | – | 93.8632
| 1s (n=4) | 0.27562 | 0.075829 | 0.22243 | 0.62183 | 0.049104 | 0.15466 | 0.086891 | 0.041833 | 0.035484 | 0.44858
Fragment 3 | mean | 33.195 | 1.4855 | 22.3125 | 13.91 | 0.020225 | 8.11 | 2.3925 | 1.74 | 0.056875 | 10.205 | nd | nd | nd | nd | – | 93.4276
| 1s (n=4) | 0.28892 | 0.17127 | 0.20474 | 0.1255 | 0.035031 | 0.1257 | 0.084373 | 0.073485 | 0.040213 | 0.25937
Fragment 4 | mean | 33.2975 | 1.5306 | 21.3275 | 15.3125 | 0 | 8.14 | 2.585 | 1.4675 | 0.059725 | 9.93 | nd | nd | nd | nd | – | 93.6503
| 1s (n=4) | 0.071545 | 0.10432 | 0.20608 | 0.79405 | 0 | 0.1084 | 0.055902 | 0.084963 | 0.012388 | 0.3944
Fragment 5 | mean | 32.81 | 1.5322 | 20.8675 | 15.465 | 0.052475 | 8.1575 | 2.6675 | 1.4325 | 0.0459 | 10.57 | nd | nd | nd | nd | – | 93.6005
| 1s (n=4) | 0.32527 | 0.076847 | 0.27581 | 0.627 | 0.047602 | 0.20462 | 0.083179 | 0.049181 | 0.016594 | 0.3386
Fragment 6 | mean | 33.2425 | 1.4869 | 22.0875 | 14.7775 | 0.084925 | 8.25 | 2.29 | 1.755 | 0.096325 | 10.13 | nd | nd | nd | nd | – | 94.2006
| 1s (n=4) | 0.19266 | 0.11114 | 0.17006 | 0.41179 | 0.093868 | 0.082462 | 0.090277 | 0.033541 | 0.024317 | 0.28434
Dravite grand mean |  | 33.1642 | 1.5234 | 21.6408 | 14.8079 | 0.045112 | 8.1329 | 2.4413 | 1.6179 | 0.06945 | 10.1454 | [5 empty] | 93.59
| 1s (n=24) | 0.327 | 0.11373 | 0.69098 | 0.93351 | 0.073021 | 0.19557 | 0.16884 | 0.14377 | 0.034723 | 0.48119
| 1s (%) | 0.98601 | 7.4661 | 3.1929 | 6.3041 | 161.865 | 2.4047 | 6.9161 | 8.886 | 49.9974 | 4.743
DRAVITE 108796.1
Madison
Fragment 1 | mean | 34.1039 | 1.5981 | 23.399 | 13.8948 | 0.0070885 | 8.9183 | 2.3226 | 1.6899 | 0.056672 | 10.3658 | bdl | bdl | 0.46 | 1.93 | 0.19366 | 98.5525
| 1s (n = 4) | 0.1445 | 0.020967 | 0.10419 | 0.25315 | 0.009766 | 0.036953 | 0.022589 | 0.029035 | 0.0061406 | 0.74265 |  |  | 0.02 | 0.67
Fragment 2 | mean | 33.7909 | 1.8636 | 21.8748 | 16.2409 | -0.017878 | 8.3045 | 2.7187 | 1.5034 | 0.064147 | 9.9994 | bdl | bdl | 0.37 | 2.43 | 0.15577 | 98.9865
| 1s (n = 4) | 0.23325 | 0.015287 | 0.069315 | 0.14104 | 0.014319 | 0.093804 | 0.021536 | 0.029288 | 0.0099067 | 0.24247 |  |  | 0.02 | 0.1
Fragment 3 | mean | 34.289 | 1.5905 | 23.3617 | 13.8584 | 0.026264 | 8.9264 | 2.3241 | 1.719 | 0.062615 | 9.8824 | bdl | bdl | 0.5 | 2.19 | 0.2105 | 98.52
| 1s (n = 4) | 0.15059 | 0.036257 | 0.18793 | 0.24058 | 0.0076449 | 0.11937 | 0.019895 | 0.068121 | 0.013854 | 0.21692 |  |  | 0.02 | 0.17
Fragment 4 | mean | 34.4971 | 1.7153 | 23.4054 | 14.2822 | 0.0016798 | 8.4793 | 2.4575 | 1.64 | 0.072366 | 10.1798 | bdl | bdl | 0.47 | 2.07 | 0.19787 | 99.0728
| 1s (n = 4) | 0.21294 | 0.010642 | 0.072856 | 0.15267 | 0.018606 | 0.028672 | 0.022731 | 0.015965 | 0.0036407 | 0.39494 |  |  | 0.02 | 0.33
Fragment 5 | mean | 33.7859 | 1.6139 | 22.3165 | 15.8514 | 0.0025003 | 8.2693 | 2.5332 | 1.5947 | 0.068107 | 9.5377 | bdl | bdl | 0.38 | 2.52 | 0.15998 | 98.3134
| 1s (n = 4) | 0.18354 | 0.032629 | 0.0893 | 0.14463 | 0.016958 | 0.14819 | 0.043168 | 0.05692 | 0.0039339 | 0.17339 |  |  | 0.02 | 0.18
Fragment 6 | mean | 33.7341 | 1.5924 | 22.497 | 15.5612 | 0.017907 | 8.3064 | 2.4806 | 1.6139 | 0.051883 | 9.663 | bdl | bdl | 0.38 | 2.6 | 0.15998 | 98.3383
| 1s (n = 4) | 0.12677 | 0.018434 | 0.02471 | 0.1496 | 0.02095 | 0.091354 | 0.022386 | 0.089075 | 0.011977 | 0.4372 |  |  | 0.04 | 0.34
Dravite grand mean |  | 34.0335 | 1.6623 | 22.8091 | 14.9481 | 0.0062603 | 8.534 | 2.4728 | 1.6268 | 0.062632 | 9.938 | bdl | bdl | 0.43 | 2.29 | 0.18103 | 98.63
| 1s (n = 24) | 0.33356 | 0.10423 | 0.62839 | 1.0009 | 0.019684 | 0.30098 | 0.13972 | 0.085889 | 0.010657 | 0.46814
| 1s (%) | 0.98009 | 6.27 | 2.755 | 6.6955 | 314.4205 | 3.5268 | 5.6504 | 5.2795 | 17.0156 | 4.7106
Dyar et al. (2001) | mean | 34.7 | 1.605 | 22.025 | 14.125 | – | 8.7025 | 2.5375 | 1.49 | 0.045 | *10.9 | nd | nd | nd | nd | – | 85.23
Frondel et al. (1966) |  | 34.57 | 1.56 | 22.12 | 14.2457 | trace | 8.69 | 2.36 | 1.41 | 0.1 | 10.42 | nd | nd | nd | nd | – | 95.4757
ELBAITE 98144.1
Potsdam
Fragment 1 | mean | 35.2275 | 0.1221 | 35.565 | 5.6375 | 0.44715 | 0.8934 | 0.16347 | 2.6775 | 0.0157 | 10.8475 | nd | nd | nd | nd | – | 91.5968
| 1s (n = 4) | 0.52888 | 0.026314 | 0.21372 | 0.23889 | 0.12277 | 0.047335 | 0.026389 | 0.088706 | 0.0054832 | 0.4324
Fragment 4 | mean | 35.2225 | 0.19912 | 35.2675 | 6.12 | 0.4506 | 1.1211 | 0.10798 | 2.66 | 0.0263 | 10.7425 | nd | nd | nd | nd | – | 91.9176
| 1s (n = 4) | 0.19702 | 0.025131 | 0.45882 | 0.27304 | 0.16766 | 0.072964 | 0.050913 | 0.05 | 0.0052593 | 0.23637
Fragment 5 | mean | 34.86 | 0.55827 | 33.845 | 6.25 | 0.06975 | 2.8575 | 0.1074 | 2.71 | 0.024825 | 10.0175 | nd | nd | nd | nd | – | 91.3002
| 1s (n = 4) | 0.3963 | 0.062497 | 0.19831 | 0.61673 | 0.013735 | 0.080429 | 0.020248 | 0.032404 | 0.014958 | 0.32691
Fragment 6 | mean | 34.7125 | 0.28392 | 35.34 | 6.6975 | 0.42297 | 1.1127 | 0.056275 | 2.6725 | 0.025725 | 10.5775 | nd | nd | nd | nd | – | 91.9017
| 1s (n = 4) | 0.14601 | 0.034345 | 0.36531 | 0.25704 | 0.047082 | 0.13222 | 0.023839 | 0.091207 | 0.014959 | 0.26612
Fragment 10 | mean | 35.0825 | 0.52527 | 32.835 | 6.985 | 0.10643 | 3.5625 | 0.05525 | 2.6475 | 0.044275 | 10.7175 | nd | nd | nd | nd | – | 92.5612
| 1s (n = 4) | 0.30011 | 0.02372 | 0.13739 | 0.18364 | 0.1391 | 0.031125 | 0.061859 | 0.059319 | 0.028866 | 0.35752
Fragment 12 | mean | 35.12 | 0.39738 | 34.34 | 6.345 | 0.14342 | 1.8575 | 0.064775 | 2.72 | 0.025125 | 10.8225 | nd | nd | nd | nd | – | 91.8357
| 1s (n = 4) | 0.35623 | 0.042907 | 0.19209 | 0.1254 | 0.079014 | 0.031918 | 0.020447 | 0.091104 | 0.029115 | 0.33514
Elbaite grand mean |  | 34.955 | 0.33505 | 34.67 | 6.31 | 0.27905 | 1.5398 | 0.0821 | 2.665 | 0.0269 | 10.63 | [5 empty] | 91.85
| 1s (n=24) | 0.4022 | 0.16898 | 1.0329 | 0.54714 | 0.20489 | 1.0177 | 0.055134 | 0.078647 | 0.021357 | 0.4458
| 1s (%) | 1.1479 | 48.6031 | 2.9911 | 8.6311 | 74.9456 | 53.543 | 59.5887 | 2.9332 | 79.1234 | 4.1974
ELBAITE 98144.1 (non-green)
Madison
Fragment 1 | mean | 36.1381 | 0.5551 | 36.07 | 6.72 | 0.13 | 2.9777 | 0.071327 | 2.6338 | 0.019678 | 10.2108 | bdl | 1.97 | 1.2291 | 0.37862 | 0.51745 | 98.5868
| 1s (n = 4) | 0.17053 | 0.017091 | 0.08 | 0.09 | 0.04 | 0.075146 | 0.010638 | 0.030661 | 0.0060607 | 0.2829 |  |  | 0.023025 | 0.3516
Fragment 2 | mean | 36.0058 | 0.64104 | 34.91 | 7.22 | 0.11 | 3.7381 | 0.056603 | 2.6251 | 0.026668 | 9.2677 | bdl | 1.97 | 1.1408 | 1.0192 | 0.48029 | 98.2508
| 1s (n = 4) | 0.086082 | 0.026882 | 0.05 | 0.11 | 0.03 | 0.062721 | 0.011663 | 0.063301 | 0.012682 | 0.26597 |  |  | 0.036086 | 0.15833
Fragment 3 | mean | 36.0131 | 0.27898 | 37.4 | 6.24 | 0.39 | 1.0752 | 0.12601 | 2.6654 | 0.022981 | 10.6935 | bdl | 1.97 | 1.425 | 0.54714 | 0.59992 | 98.2474
| 1s (n = 4) | 0.17388 | 0.027344 | 0.15 | 0.05 | 0.04 | 0.020432 | 0.0075159 | 0.019037 | 0.010408 | 0.56152 |  |  | 0.04068 | 0.22475
Fragment 4 | mean | 36.138 | 0.27477 | 37.44 | 7.14 | 0.34 | 0.75649 | 0.10882 | 2.6953 | bdl | 9.4573 | bdl | 1.97 | 1.4348 | 1.1203 | 0.60404 | 98.2717
| 1s (n = 4) | 0.22423 | 0.017947 | 0.15 | 0.09 | 0.03 | 0.015417 | 0.014815 | 0.057986 | – | 0.26086 |  |  | 0.020298 | 0.29207
Fragment 5 | mean | 36.1649 | 0.29734 | 37.53 | 6.55 | 0.38 | 1.0327 | 0.11836 | 2.7184 | 0.021347 | 10.7341 | bdl | 1.97 | 1.4154 | 0.054128 | 0.59588 | 98.3908
| 1s (n = 4) | 0.22537 | 0.024953 | 0.13 | 0.11 | 0.03 | 0.025246 | 0.013503 | 0.10006 | 0.0033848 | 0.90793 |  |  | 0.010479 | 0.85002
Fragment 6 | mean | 35.9727 | 0.63785 | 34.93 | 7.33 | 0.1 | 3.6636 | 0.055304 | 2.7065 | 0.025324 | 10.288 | bdl | 1.97 | 1.1295 | 0.3924 | 0.47553 | 98.7257
| 1s (n = 4) | 0.17939 | 0.033121 | 0.17 | 0.1 | 0.02 | 0.046171 | 0.0063446 | 0.081045 | 0.010384 | 0.72065 |  |  | 0.024208 | 0.57251
Elbaite (non-green) grand mean |  | 36.0721 | 0.44751 | 36.38 | 6.87 | 0.24 | 2.2073 | 0.089404 | 2.6741 | 0.021639 | 10.1086 | bdl | 1.97 | 1.2958 | 0.58531 | 0.54552 | 98.41
| 1s (n = 24) | 0.17939 | 0.17139 | 1.17 | 0.41 | 0.14 | 1.3077 | 0.031434 | 0.067896 | 0.0091829 | 0.75937 |  |  | 0.13823 | 0.56556
| 1s (%) | 0.49731 | 38.2985 | 3.23 | 5.96 | 56.38 | 59.2459 | 35.1596 | 2.539 | 42.4366 | 7.5121 |  |  | 10.6675 | 96.6257
ELBAITE 98144.1 (green)
Madison
Fragment 1 | mean | 35.413 | 0.16777 | 38.13 | 6.1548 | 0.58842 | 0.85096 | 0.12859 | 2.6406 | 0.023123 | 9.8594 | bdl | 1.97 | 1.4022 | 1.0607 | 0.59031 | 97.7991
| 1s (n = 4) | 0.035265 | 0.020088 | 0.17056 | 0.14383 | 0.021335 | 0.024489 | 0.012441 | 0.018056 | 0.010883 | 0.45349 |  |  | 0.025637 | 0.19324
Fragment 2 | mean | 36.117 | 0.17361 | 37.7444 | 6.0188 | 0.53584 | 0.84803 | 0.14269 | 2.6917 | 0.0221 | 10.3692 | bdl | 1.97 | 1.4645 | 0.65235 | 0.61654 | 98.1337
| 1s (n = 4) | 0.052443 | 0.012969 | 0.095162 | 0.09048 | 0.025013 | 0.035309 | 0.0099068 | 0.042906 | 0.0036613 | 0.40931 |  |  | 0.04379 | 0.25051
Fragment 3 | mean | 36.0234 | 0.076563 | 37.8104 | 6.5706 | 0.60619 | 0.33888 | 0.14512 | 2.7141 | 0.011936 | 9.5657 | bdl | 1.97 | 1.5122 | 0.79276 | 0.63664 | 97.5012
| 1s (n = 4) | 0.084187 | 0.0064346 | 0.1524 | 0.051808 | 0.025726 | 0.023693 | 0.018253 | 0.01413 | 0.0065555 | 0.49418 |  |  | 0.042813 | 0.14876
Fragment 4 | mean | 35.9383 | 0.097764 | 37.5985 | 6.61 | 0.56969 | 0.33367 | 0.15571 | 2.6939 | 0.023647 | 10.0323 | bdl | 1.97 | 1.4788 | 1.1742 | 0.62259 | 98.0539
| 1s (n = 4) | 0.2336 | 0.012419 | 0.11329 | 0.13155 | 0.037463 | 0.022928 | 0.0074989 | 0.043112 | 0.010074 | 0.59031 |  |  | 0.054102 | 0.38422
Elbaite (green) grand mean |  | 35.8729 | 0.12893 | 37.8208 | 6.3385 | 0.57503 | 0.59288 | 0.14303 | 2.6851 | 0.020201 | 9.9567 | bdl | 1.97 | 1.4644 | 0.92 | 0.61652 | 97.87
| 1s (n = 16) | 0.30432 | 0.045588 | 0.23473 | 0.28295 | 0.036787 | 0.26614 | 0.015107 | 0.040376 | 0.0089377 | 0.53233 |  |  | 0.056258 | 0.31607
| 1s (%) | 0.84833 | 35.3602 | 0.62064 | 4.464 | 6.3973 | 44.8888 | 10.562 | 1.5037 | 44.2433 | 5.3464 |  |  | 3.8417 | 34.3555
Dyar et al. (2001) | mean | 36.475 | 0.43 | 35 | 6.3575 | 0.205 | 2.12 | 0.0875 | 2.545 | 0.015 | *8.3 | [5 empty] | 83.235
NIST 610 glass
Potsdam
| mean | 66.4869 | 0.075285 | 1.7844 | 0.10292 | 0.095092 | 0.079292 | 11.1985 | 12.7415 | 0.062077 | 1.0724 | nd | nd | nd | nd | – | 93.6984
| 1s (n=13) | 0.51149 | 0.061462 | 0.045368 | 0.099555 | 0.074318 | 0.031387 | 0.24176 | 0.22777 | 0.039168 | 0.38659
| 1s (%) | 0.76931 | 81.639 | 2.5425 | 96.7344 | 78.1541 | 39.5839 | 2.1589 | 1.7876 | 63.0955 | 36.0493
Jochum et al. (2011) | preferred | 69.7 |  | 1.95 |  |  |  | 11.4 | 13.4
Values are in m/100m, total Fe calculated as FeO, all data reported in Electronic Supplement Table 1.
*B2O3 values from Dyar et al. (2001) are from the GFZ laboratory and should be superceded by those reported here.
bdl = below detecion limits
nd = not determined
Instruments and analytical conditions used: GFZ Potsdam, July 2019, JEOL Hyperprobe JXA-8500F with field-emission cathode and five wavelength-dispersive spectrometers, 10 kV accelerating voltage, 10 nA beam current, 8-10 micrometer beam diameter. Counting times for peaks/background were 60/30 s for B, 20/10 s for Fe, Mn, Ti and 10/5 s for Na, Ca, Mg, Si, Al and K. Calibration materials: schorl (B, Si, Al, Fe), orthoclase (K), diopside (Ca, Mg), rhodonite (Mn), rutile (Ti), and tugtupite (Na). Only Ka-Lines were used, with the first sequence: B (LDEB), Fe (LIF), K (PETJ), Al (TAP), Si (PETH); and second: Mn (LIF), Ca (PETJ), Na (TAP); lastly Ti (LIF) and Mg (TAP). Relative analytical uncertainties (1s) are ~1 % for Si, ~3% for Al and <5 % for B. Deviation of NIST 610 SiO2 from the recommended value (Jochum et al. 2011) is due to Si being calibrated on tourmaline. Data reduction used the φ(ρZ) correction scheme (CITZAF; Armstrong 1995).
Analyses at UW-Madison in February 2020 by CAMECA SXFive FE with five wavelength-dispersive spectrometers and Probe for EPMA software. Two conditions were utilized: 7 kV accelerating voltage, 40 nA and 10 micron defocused beam for O, B, and F; 15 kV, 20 nA and 10 micron defocused beam for the balance of the elements. Counting times were 10 seconds on peak and 5 seconds each on two background positions. Boron was measured with PC2 (98Å 2d) and O and F with PC0 (45 Å 2d) layered synthetic diffractors. A small overlap of Fe L upon F Ka was corrected inside the matrix correction, which was the full PAP phi-rho-Z. The mass absorption coefficients of Bastin and of Pouchou for B, O and F by the other elements were applied. Calibration materials were: NIST SRM K326 (B), Burma jadeite--London Natural History Museum (Na, Al, Si, O), NIST K411 glass (Mg, Ca), Harvard University hematite (Fe), Asbestos microcline (K), syntheitic TiO2 (Ti), syntheitic tephroite (Mn), synthetic ZnO (Zn) and Thomas Range F-topaz (F). The tourmalines fragments and the standards were mounted together in the same mount and carbon coated with ~200 nm of carbon (polished brass color technique). Minimum detection limits (MDLs) for the following low concentration oxides for each individual spot analysis were: K2O 0.02, CaO 0.02, TiO2 0.03, and ZnO 0.13 wt%. Differential PHA with wide windows was used for O, B and F, whereas integral PHA was used for the other elements. For the purposes of matrix correction, Li2O was also input into the composition of the tourmaline fragements, based upon the values presented elsewhere in this paper. After all of the measured oxygen was accounted for by stoichiometric appropriation (including Fe as FeO), any remaining oxygen was assigned to OH. These OH values are considered appropriate for purposes of the matrix correction.

## Table2
Table 2. Summary of SIMS homogeneity tests for lithium concentration and new working value.
Li2O (m/100m)
|  | 7Li+/28Si+ | precisionb | this studyc | Dyar 1 | Dyar 2 | Dyar 3 | Dyar 4
SCHORL 112566.1 | mean | 0.14028 | 0.81% | 0.1176 | 0.09 | 0.107 | 0.0712 | nr
| 1s (n = 30) | 0.010547 |  | 0.0087
| repeat. (1s, %)a | 7.4 |  | 7.4
DRAVITE 108796.1 | mean | 0.0020679 | 1.94% | 0.00177 | nr | 0.017 | 0.00095 | 0.0013
| 1s (n = 28) | 0.0002804 |  | 0.00024
| repeat. (1s, %)a | 13.6 |  | 13.6
ELBAITE 98144.1 | mean | 2.12 | 0.27% | 1.92 | 1.33 | 0.98 | 0.3 | nr
| 1s (n = 36) | 0.21 |  | 0.19
| repeat. (1s, %)a | 9.8 |  | 9.8
NIST 610 | mean | 0.0567 | 0.68%
| 1s (n = 19) | 0.0015
| repeat. (1s, %)a | 2.6
nr = not reported
a. repeatability from "n" repeat measurements as 1s (mean value in percent). See supplemental table 2 for information about the distribtion of SIMS results.
b. mean internal precision from 20 cycles per measurement (1s).
c. Li concentrations calibrated from NIST 610 glass, recommended SiO2 value 69.4 m/100m and Li 468 µg/g (Jochum et al. 2011). SiO2 values for tourmalines used in calculation is mean of Potsdam and Madison values (see table 1).
d. Li concentrations reported by Dyar et al. (2001) based on (1) PIGE, (2) flame AAS, (3) SIMS, (4) ICP-AES.

## Table3
Table 3. Summary of SIMS homogeneity tests for lithium isotope ratio.
|  | 7Li / 6Li | cycles | int. precisionb | beam current | 7Li cps | detectorc | test mass (ng)d
SCHORL 112566.1 | mean | 11.6316 | 50 | 0.17 ‰ | 3.5 nA | 3865006.8864 | EM/FC | 0.1
| 1s (n = 44) | 0.0087
| repeatabilitya | 0.75 ‰
DRAVITE 108796.1 | mean | 12.1683 | 150 | 0.3 ‰ | 12 nA | 190675.3056 | EM/EM | 1.3
| 1s (n = 36) | 0.0263
| repeatabilitya | 2.16 ‰
ELBAITE 98144.1 | mean | 12.717 | 25 | 0.08 ‰ | 4.5 nA | 75818301.0526 | FC/FC | ~0.07
| 1s (n = 38) | 0.0043
| repeatabilitya | 0.33 ‰
NIST 610 | mean | 11.8166 | 50 | 0.08 ‰ | 3.5 nA | 2582500 | EM/FC | nd
| 1s (n = 8) | 0.005
| repeatabilitya | 0.43 ‰
n = number of determinations, this also includes the data from the small "DM" area
nd = not determined
Values for beam current, 7Li count rate and internal precision are average of "n" measurements.
All data are reported in Electronic Supplement Table 3.
a. repeatability from "n" repeat measurements as 1s (in ‰).
b. internal precision from "n" cycles as 1 sd / mean in permil
c. ion detection method EM = electron multiplier, FC = Faraday cup
d. Amount of material sputtered based on white light profilometry and an assumed density of ρ = 3.0 g/cm3

## Table4
Table 4. Summary of SIMS homogeneity tests for oxygen isotope ratio.
|  | 18O / 16O (meas.) | 18O / 16O (corr.)b | int. precisionc | IMFd | IMF uncet.e
SCHORL 112566.1 | mean | 0.0020178 | 0.0020171 | 0.11‰ | 0.9963 | 0.03
| 1s (n = 63) | 5.4694e-07 | 5.3924e-07
| repeatabilitya | 0.27‰ | 0.27‰
DRAVITE 108796.1 | mean | 0.0020219 | 0.002021 | 0.10‰ | 0.99785 | 0.08
| 1s (n = 47) | 5.1217e-07 | 4.4203e-07
| repeatabilitya | 0.25‰ | 0.22‰
ELBAITE 98144.1 | mean | 0.0020272 | 0.0020264 | 0.11‰ | 0.99825 | 0.02
| 1s (n = 70) | 6.121e-07 | 4.5516e-07
| repeatabilitya | 0.30‰ | 0.22‰
NIST 610 | mean | 0.0020301 | 0.0020294 | 0.10‰ | 1.0011
| 1s (n = 29) | 6.6761e-07 | 4.2823e-07
| repeatabilitya | 0.33‰ | 0.21‰
All data are reported in Electronic Supplement Table 4.
a. repeatability from "n" measurements (1s).
b. corrected for linear drift based on NIST 610 results, see text.
c. mean internal precision from "n" cycles (1s).
d. 18O/16O instrumental mass fractionation (measured ratio / true), based on the grand mean δ18O values indicated on table 6.
e. uncertainty in ‰ of the recomended δ value of this material (see table 7).

## Table5
Table 5. Summary results of δ7LiL-SVEC by solution ICP mass spectrometry, values in ‰.
Material | Laboratory | dissolution | No of analyses | δ7Li (mean) ‰ | δ7Li (range) ‰ | 1s | Lin et al. (2019)b
SCHORL 112566.1 | Bremen | 1 | 5 | 5.7055 | 5.52 - 5.88 | 0.12882
| Maryland | 1 | 2 | 4.2431 | 4.22 - 4.26 | nd
| Maryland | 2 | 2 | 4.8113 | 4.64 - 4.98 | nd
| Bristol | 1 | 2 | 5.6422 | 5.60 - 5.72 | nd
| Bristol | 2 | 2 | 5.7104 | 5.64 - 5.78 | nd
| Woods Hole | 1 | 4 | 5.5233 | 5.35 - 5.70 | 0.14629
| Woods Hole | 2 | 4 | 5.2903 | 4.70 - 5.66 | 0.3712
| Mediana |  |  | 5.52 ± 0.23 |  |  | 6.47 ± 0.20
DRAVITE 108796.1 | Bremen | 1 | 2 | 10.9876 | nd | nd
| Maryland | 1 | 2 | 8.718 | 7.97 - 9.35 | nd
| Maryland | 2 | 1 | 8.78 | 8.21 - 9.34 | nd
| Bristol | 1 | 3 | 10.168 | 10.10 - 10.25 | 0.07
| Bristol | 2 | 2 | 10.2424 | 10.14 - 10.35 | nd
| Woods Hole | 1 | 1 | 9.6727 | nd | nd
| Woods Hole | 2 | 1 | 10.2404 | nd | nd
| Mediana |  |  | 10.17 ± 0.34
ELBAITE 98144.1 | Bremen | 1 | 5 | 7.1036 | 6.94 -7.28 | 0.12659
| Maryland | 1 | 2 | 6.0392 | 5.84 - 6.24 | nd
| Maryland | 2 | 2 | 6.8742 | 6.64 - 7.11 | nd
| Bristol | 1 | 3 | 7.1801 | 7.12 - 7.24 | nd
| Bristol | 2 | 2 | 7.7136 | 7.62 - 7.81 | nd
| Woods Hole | 1 | 4 | 7.1345 | 6.80 - 7.34 | 0.23369
| Mediana |  |  | 7.12 ± 0.24 |  |  | 7.90 ± 0.22
See electronic supplement 5 for a complete report of all individual results.
nd = not defined, 1s repeatability values only reported for those aliquots with ≥3 mass spectrometer determinations.
a. Median of n = 6 or 7 independent dissolutions with 1SE based on the 1s reproducibility divided by sqrt(n-1).
b Values in ‰ reported by Lin et al. (2019) for comparison based on n = 3 determinations using mircodrilling and wet chemical methods, uncertainty estimates are 1s.

## Table6
Table 6. Summary results of oxygen isotope ratio analyses by gas source mass spectrometry.
|  |  |  | δ18OSMOW |  | δ17OSMOW
Material | Laboratory | session | nb | mean | rangec | mean | rangec
SCHORL 112566.1 | Cape Town | 1 | 2 | 9.59 | 9.54 - 9.64
| Cape Town | 2 | 2 | 9.745 | 9.66 - 9.83
| Milton Keynes | 1 | 2 | 9.7135 | 9.68 - 9.74 | 5.0655 | 5.05 - 5.08
| Milton Keynes | 2 | 2 | 9.711 | 9.71 - 9.71 | 5.072 | 5.06 - 5.08
| Madison | 1 | 2 | 9.755 | 9.74 - 9.77
| Madison | 2 | 2 | 9.625 | 9.58 - 9.67
| Keyworth | 1 | 2 | 9.49 | 9.74 - 9.61
| Keyworth | 2 | 2 | 9.65 | 9.33 - 9.97
| Keyworth | 3 | 1 | 9.46
| E. Kilbride | 1 | 3 | 9.6958 | 9.59 - 9.78
| Göttingen | 1 | 1 | 9.807 |  | 5.1201
| Göttingen | 2 | 2 | 9.6958 | 9.47 - 9.81 | 5.0564 | 4.93 - 5.12
| Grand Meana |  |  | 9.66 ± 0.03 |  | 5.0785
Dyar et al. (2001) |  |  |  | 10.32 ± 0.03
DRAVITE 108796.1 | Cape Town | 1 | 2 | 9.985 | 9.98 - 9.99
| Cape Town | 2 | 2 | 10.01 | 9.90 - 10.12
| Milton Keynes | 1 | 1 | 10.04 |  | 5.38
| Milton Keynes | 2 | 2 | 10.0675 | 10.02 - 10.12 | 5.265 | 5.24 - 5.29
| Madison | 1 | 2 | 10.185 | 10.17 - 10.20
| Madison | 2 | 2 | 10.005 | 9.99 - 10.02
| Keyworth | 1 | 2 | 9.75 | 9.50 - 10.0
| Keyworth | 2 | 2 | 10.615 | 10.59 - 10.74
| E. Kilbride | 1 | 4 | 9.916 | 9.80 - 9.99
| Göttingen | 1 | 3 | 10.1308 | 10.12 - 10.16 | 5.2886 | 5.28 - 5.31
| Grand Meana |  |  | 10.07 ± 0.08 |  | 5.3112
Dyar et al. (2001) |  |  |  | 10.03 ± 0.02
ELBAITE 98144.1 | Cape Town | 1 | 2 | 13.71 | 13.69 - 13.73
| Cape Town | 2 | 2 | 13.74 | 13.71 - 13.77
| Milton Keynes | 1 | 2 | 13.806 | 13.77 - 13.85 | 7.205 | 7.18 - 7.23
| Milton Keynes | 2 | 2 | 13.8715 | 13.87 - 13.87 | 7.239 | 7.23 - 7.25
| Madison | 1 | 3 | 13.8733 | 13.81 - 13.92
| Madison | 2 | 2 | 13.96 | 13.84 - 14.08
| Keyworth | 1 | 1 | 14.52
| Keyworth | 2 | 1 | 12.72
| Keyworth | 3 | 1 | 13.73
| E. Kilbride | 1 | 4 | 13.538 | 13.20 - 13.79
| Göttingen | 1 | 3 | 13.94 | 13.82 - 14.00 | 7.2711 | 7.20 - 7.31
| Grand Meana |  |  | 13.76 ± 0.13 |  | 7.2384
Dyar et al. (2001) |  |  |  | 13.89 ± 0.02
UWG-2 grnt | Cape Town |  | 4 | 5.76 | 5.69 - 5.87
| Milton Keynes |  | 4 | 5.75 | 5.69 - 5.80 | 2.98 | 2.96 - 3.01
| Madison |  | 4 | 5.8 | 5.75 - 5.91
| Keyworth |  | 3 | 5.49 | 5.07 - 5.98
| E. Kilbride |  | 9 | 5.75 | 5.63 - 5.87
| Göttingen |  | 15 | 5.77 | 5.62 - 5.90 | 2.99 | 2.93 - 3.06
See electronic supplement 6 for a complete report of all individual results.
a. simple mean of n = 10, 11 or 12 independent sessions with 1SE based on the reproducibility divided by sqrt(n-1).
b . number of independent determinations during the given analytical day.
c. range only reported for those determinations containing ≥2 determinations.

## Table7
Table 7. Compilation of reference values for the three Harvard troumaline materials.
| LiO2 Concentration | δ7LiL-SVEC | δ18OSMOW | δ17OSMOW | δDb | δ11Bc | δ11Bd
| (m/100m)a | (‰) | (‰) | (‰) | (‰) | (‰) | (‰)
Schorl 112566.1 | 0.118 ± 0.009 | 5.52 ± 0.23 | 9.66 ± 0.03 | 5.08 | -92.4 | -12.5 | -13.86
Dravite 108796.1 | 0.00177 ± 0.00024 | 10.17 ± 0.34 | 10.07 ± 0.08 | 5.31 | -47.3 | -6.6 | -6.86
Elbaite 98144.1 | 1.92 ± 0.19 | 7.12 ± 0.24 | 13.89 ± 0.02 | 7.28 | -99.4 | -10.4 | -12.02
Status | Current Best Estimate | Recommended Value | Recommended Value | Working Value | Working Value | Published | Published
uncertainty type | 1s repeatability | 1SE | 1SE
a. Values based on SIMS data calibrated using silicat glass NIST 610 -- subject to uncontrolled matrix effects.
b. Values published by Dyar et al. (2001) on starting materials.
c. Values published by Leeman and Tonarini (2001) on starting material.
d. Values published by Marger et al. (2020) on starting material.