# A comparison of high content screening versus manual analysis to assay the effects of mesenchymal stem cell conditioned medium on neurite outgrowth in vitro.

Karina T. Wright Ph.Da*, Gareth J. Griffiths Ph.Db, William E.B. Johnson Ph.Da.

aISTM Keele University at the RJAH Orthopaedic Hospital, Oswestry, Shropshire, SY10 7AG, UK.

bImagen Biotech Ltd, Manchester, M13 9XX, UK.

Short title: Screening the effects of MSCs on nerve growth.

Number of words:

*Corresponding author:

Tel.: +44-1691-404699; fax: +44-1691-404170.

E-mail address: Karina.Wright@rjah.nhs.uk (K.T. Wright).

Co-authors:

Tel.: +44-161-606-7380; fax: +44-161-603-7610.

E-mail address: Gareth.Griffiths@imagen-biotech.com (G. J. Griffiths).

Tel.: +44-1691-404660; fax: +44-1691-404170.

E-mail address: Eustace.Johnson@rjah.nhs.uk (W.E.B. Johnson).

Abstact

Bone marrow mesenchymal stem cells (MSCs) promote nerve growth and functional recovery in animal models of spinal cord injury (SCI) to varying levels. We have tested high content screening, using the Cellomics Ltd Arrayscan platform, to examine the effects of MSC conditioned medium (MSC-CM) on neurite outgrowth from the human neuroblastoma cell line SH-SY5Y and from explants of chick dorsal root ganglia (DRG). These analyses were compared to previously published methods which involved hand-tracing individual neurites with IP Lab software.

Both methods demonstrated that MSC-CM promoted neurite outgrowth. Each showed: (i) that the proportion of SH-SY5Y cells with neurites (≥10µm) increased by >200% in MSC-CM within 48 hours; (ii) that the number of neurites/ SH-SY5Y cell was significantly increased in MSC-CM, compared with control medium. For high content screening, the analysis was performed to completion within minutes, testing multiple samples of MSC-CM and in each case measuring ~15,000 SH-SY5Y cells. In contrast, the manual measurement of neurite outgrowth from ≥200 SH-SY5Y cells in a single sample of MSC-CM took at least 1 hour. High content analysis provided additional measures of increased neurite branching in MSC-CM compared with control medium within the same short time-frame. MSC-CM was also found to stimulate neurite outgrowth and branching in chick DRG explants using either method, although the number of outcome measures from the high content analysis was more limited than for the SH-SY5Y cell line.

Keywords: Mesenchymal stem cell conditioned medium; Neurite outgrowth; High content screening; Manual image analysis.

1. Introduction

Mesenchymal stem cells (MSCs) represent an attractive cell source for clinical transplantation as they can be easily and reproducibly isolated from bone marrow aspirates, expanded efficiently in culture, and re-introduced into patients without the need for immune rejection drugs. MSCs also promote nerve growth and functional recovery in animal models of spinal cord injury (SCI) (Hofstetter et al., 2002; Ankeny et al., 2004; Neuhuber et al., 2005; Himes et al., 2006) and have therefore received considerable interest as possible donor cells in the development of therapies for SCI.

The potential mechanisms responsible for the improvements noted in animal SCI models, however, are largely unclear and vary considerably between studies. However, MSCs are known to synthesise growth factors and cytokines that promote neuronal survival and axonal outgrowth (Ankeny et al., 2004; Neuhuber et al., 2005). The synthesis of such soluble neurotrophic factors by MSCs has been shown to vary considerably between bone marrow donors (Neuhuber et al., 2005; Crigler et al., 2006). It is likely that the functional improvement noted post-transplantation of MSCs in animal models may be attributed, in part, to the soluble neurotrophic factors synthesized by the transplanted MSC grafts. Hence, a pre-clinical method to determine the capacity of human MSCs to synthesize neurotrophic factors would provide a useful tool which could be applied in screening for optimized MSC transplantation therapies. For this purpose, we have tested the capacity of human MSC conditioned medium (MSC-CM) to stimulate neurite outgrowth in vitro using both high content and previously published manual analysis (Hynds et al., 1999; Johnson et al., 2002; Wright et al., 2007).

2. Materials and methods

2.1. Generating MSC-conditioned medium

Following local research ethical committee approval and informed consent, bone marrow was harvested from the iliac crest of four donors, MSCs were culture expanded from these aspirates and MSC-CM was generated as described previously (Wright et al., 2007).

2.2. Preparing neuronal cultures for analysis

SHSY5Y cells

SH-SY5Y cells were seeded in serum-free DMEM/ITS-X medium onto flat bottomed polystyrene 96-well tissue culture plates (Starstedt) at a seeding density of 5000 cells per well. Seeded plates were incubated at 370C for 24h to permit cell adherence and then fed with MSC-CM or fresh serum free DMEM/ITS-X (control) medium in triplicate wells. Following a 48h incubation images of cultures were captured using phase contrast microscopy for manual neurite outgrowth analysis.

Chick dorsal root ganglia (DRG) explants

DRG were dissected from E10 hybrid brown chicks and cut into 2 or 3 explants per DRG, such that all the explants were approximately the same size. These were then seeded in either MSC-CM or control medium onto polystyrene 24-well tissue culture plates (Co-star). Plates were pre-coated with a thin layer of protein-binding nitrocellulose (BA85, Schleicher & Schuell) and then further coated with a solution of 100g/ml type I collagen in phosphate buffered saline (PBS). After coating, all wells were washed repeatedly with PBS prior to seeding with DRG. Following a 48h incubation, images of cultures were captured using phase contrast microscopy for manual neurite outgrowth analyses.

Neurofilament 200kD  immunostaining

For the high content analysis of neurite outgrowth from SH-SY5Y cells and DRG explants cultures plates were fixed by gently adding an equal volume of 20% (v/v) formalin (BDH Biosciences) to the culture medium in each well for 10 minutes. Wells were then extensively washed with immunobuffer twice for ten minutes. The immunobuffer is composed of 0.05% bovine serum albumen (BSA) and 0.1% Triton X-100 (Sigma-Aldrich). Cells were then incubated for 1h with a blocking buffer of 10% goat serum (Sigma-Aldrich) in immunobuffer at room temperature.

Monoclonal anti-neurofilament 200kD (1:200) (clone NE14, Sigma-Aldrich) was used at the primary antibody, and anti-mouse Alexa Fluor 488 (1:100) (Invitrogen Life Technologies) was used as a secondary antibody. Counterstaining for nuclei was performed with inclusion of 400ng/ml Hoechst 33342 (Invitrogen Life Technologies). SH-SY5Y cells were incubated with the primary antibody for 1h and the secondary antibody for 40 min at room temperature to stain neuronal cell bodies and their neurites fluorescent green.

2.3. High content screening of neuronal cultures

We have tested high content screening using the Cellomics Ltd Arrayscan platform and neuronal profiler algorithm to quantitate the neurite area coverage, neurite length, and number of branches for neurites when neuronal cultures were grown in MSC-CM versus control medium. For this analysis multiple fields of view were taken in each well. Each field of view was captured in two fluorescence channels. Channel 1 captured Hoechst nuclear staining whilst channel 2 captured neurofilament 200kD immunostaining. The main parameter settings of the algorithm were optimized for SH-SY5Y and DRG explant cultures; these are outlined in Table 1.

Nuclear detection

The algorithm operates by identifying nuclei based on their size. For the cell line SH-SY5Y nuclei were generally larger than in the DRG explant cultures. As such an increased nuclear segmentation value was used for SH-SY5Y cultures compared to DRG explant cultures. In both neuronal cultures the nuclei were clearly defined by Hoechst staining and therefore required no nuclear smoothing (blurring) for their identification. In addition, a rejection threshold was added so that objects under a certain size such as nuclear debris or dead cells with blebbing nuclei were excluded from analysis. A maximum threshold was also used for nuclear area such that large objects over a certain size, representing possible cell clumps or debris, would also be excluded from the analysis.

Cell body detection

Upon identification of valid nuclei in channel 1, the associated channel 2 neurofilament staining was analysed. Whilst the identification of nuclei in channel 1 was relatively straightforward, the differentiation between cell bodies and neurites in channel 2 required precision when setting up the algorithm. Cell body segmentation and smoothing parameters were optimized similarly to nuclear detection. For cell body detection the algorithm measured changes in fluorescence over a continuous signal so that intensity peaks and troughs were used to separate cell bodies and associate them to their respective nuclei. Boundaries between cell bodies and neurites were controlled by the cell body demarcation setting. In this setting a low value would create large cell bodies that may encompass neurites, whereas high values would result in smaller cell bodies where the outer regions of these cells are interpreted as neurites. This setting, therefore, required precise optimisation in order to differentiate between cell bodies and neurites for each neuronal culture. The cell body mask modifier was used to alter the cell body area so that it was larger than that calculated using the cell body demarcation setting for SH-SY5Y cultures. In SH-SY5Y cultures, tiny projections which may or may not have been true neurites were then in effect swallowed by the enhanced cell body mask. Minimum and maximum size rejection thresholds were also added so that cell clumps or debris would be excluded from the analysis.

Neurite detection

For neurite detection the ‘box’ method was employed. This is different to the detection of nuclei and cell bodies due to the relatively dim staining of neurites in comparison. The box detection method involves replacing each pixel value in an image with the mean value of that pixel and its neighbouring pixels, thus computing the mean value of the pixels in that region for amplification purposes.

For neurite analysis low levels of neurite smoothing were applied to the algorithm in order to ensure that adjacent neurites were not merged into single neurites. The neurite identification modifier was optimised for maximal sensitivity for neurites whilst rejecting any background noise that could be interpreted as neurites. The neurite detection radius was used to define the cut-off width of the neurites which varies in different biologies. To avoid classifying two thin neurites that were adjacent to each other as a single neurite a low setting was applied to the neurite detection radius in both cultures.

Neurite tracing

Neurite tracing parameter settings affect the ability of the algorithm to untangle crossed neurites and assign them to their correct cell bodies. Neurites were traced from their cell bodies to their tips and any branch points were added as they were detected. The neurite direction parameter was used to specify the number of pixels required to determine changes in neurite direction at branch points. For the cell line SH-SY5Y (where neurites were generally shorter) a lower value was required for this parameter compared to DRG explant cultures where longer neurites required larger values. The neurite point resolution setting represents the minimum number of pixels between each adjacent branch point. This parameter was set to its lowest in each culture in order for the algorithm to sensitively determine whether two branch points originated from the same neurite or if there was crossover between neighbouring neurites. The neurite algorithm mask traced neurites according to these parameter settings and was coloured pink, light blue and green for each cell detected on a cyclical basis in order to clarify their cell body origin.

2.4. Manual analysis of neuronal cultures

As for the high content analysis, neurite outgrowth was quantitated in all cultures after 48 hours in MSC-CM or control medium. Cultures were monitored by phase contrast microscopy (Nikon Eclipse TS100). Methods previously described (Johnson et al., 2002).  were adapted for analysis using IP Lab software (Version 3.6, Becton Dickinson Biosciences). For wells seeded with SH-SY5Y cells, 5 digitized images were collected with a Hamamatsu digital camera (C4742-95) from each well by moving dishes in an identical pattern. Neurites were defined as a cell process ≥10 m long; these neurites were manually traced and their lengths were automatically measured from pixels/ m calibrations using the IP Lab software. The mean length of those neurites was then calculated per cell. The digitized images were also used to determine the percentage of SH-SY5Y cells with neurites (scoring >200 cells/ well). Furthermore, the number of neurites per cell was scored, but only for the subpopulation of SH-SY5Y cells that had at least one neurite.

For wells seeded with chick DRG phase contrast images were taken of the entire explant and the neurite outgrowth was measured following methods previously described (Wright et al., 2007). Briefly, neurites with an identifiable growth cone were traced back along the neurite length toward the explant until a clear path could not be distinguished from surrounding networks. At this point, a straight line was drawn back to the outer edge of the DRG explant. These paths were automatically measured from pixels/ m calibrations using IP Lab.The mean length of those neurites was then calculated per DRG explant.

2.5. Statistical analysis

The Mann-Whitney U test was used to assess significant differences at the 95% confidence level: (i) between the quantity, area, length, and number of branches for neurites assessed using high content analysis versus manual analysis; and (ii) between each of these parameters when neuronal cultures are grown in MSC-CM versus control medium. Pooled data from multiple MSC-CM donors (n = 4) was analysed.

3. Results and discussion

Previously human MSCs have been reported to increase neurite outgrowth from human neuroblastoma SH-SY5Y cells in co-culture. In these co-cultures, MSCs were grown in tissue culture inserts and as such the observed neurotrophic activity was attributed to their synthesis of soluble neurotrophic factors (Crigler et al., 2006). Similarly, we have demonstrated enhanced neurite outgrowth from SH-SY5Y cells cultured in MSC-CM compared to control medium.  In this study, both high content analysis and also tracing of individual neurites by hand demonstrated that serum-free MSC-CM stimulated neurite outgrowth from SH-SY5Y cells compared to cells grown in serum-free non-conditioned (control) medium. For high content analysis a set of images captured from channels 1 and 2 were generated and analysed after the application of an optimized neuronal profiler algorithm mask. Representative high content image sets for SH-SY5Y neuronal analysis in control medium versus MSC-CM are shown in Fig. 1A. Separate representative images for manual analysis of the same cultures and their hand traced neurite overlays are shown in Fig. 1B.

Treatment with MSC-CM was shown to increase the percentage of SH-SY5Y cells that extended neurites (a cell process ≥10 μM in length) by >200% when examined using either the high content neuronal profiler algorithm or using manual analysis. There was no significant difference in the increase in the percentage of SH-SY5Y cells that had neurites when quantitated using either method (Fig. 2A). The high content analysis demonstrated that culturing SH-SY5Y cells in MSC-CM also significantly increased the mean number of neurites per cell (Fig. 2B). In contrast, although the same trend was evident, there was no significant difference in the mean number of neurites per cell in MSC-CM versus control medium when quantitated using the manual method (Fig. 2C). Of those SH-SY5Y cells that had formed neurites, there was no significant difference in the mean length of those neurites when cultures were grown in either MSC-CM or control medium, as determined by both methods of analysis (Figs. 2D & 2E). Hence, the mean neurite length was consistently ~30-35μM in all instances. The analyses were comparable, and no significant difference between their outcome measures was observed. However for high content screening, the analysis was performed to completion within minutes, testing multiple samples of MSC-CM and in each case measuring ~75 fold more SH-SY5Y cells compared to manual analysis, which took at least 1 hour per sample. Furthermore, high content analysis provided measures of increased neurite area coverage (Fig. 2F) and increased neurite branching (Fig. 2G) in MSC-CM compared with control medium within the same short time-frame. Derivation of these measures of neurite outgrowth would otherwise require additional semi-automated analysis for neurite area (Hynds et al., 2002) or manual analysis for neurite branching (Hynds et al., 2003), which are highly time consuming.

MSC-CM has also been previously shown to increase neurite outgrowth from chick DRG explants (Neuhuber et al., 2005; Wright et al., 2007) where a number of neurotrophic agents in the MSC-CM were identified (Neuhuber et al., 2005). Similarly in this study MSC-CM also stimulated neurite outgrowth from chick DRG explants compared to DRG explants which were cultured in control medium. Representative high content image sets for chick DRG explant neuronal analysis in MSC-CM versus control medium are shown in Fig. 3A. Representative images for manual analysis of the same cultures and their hand traced neurite overlays are shown in Fig. 3B. Application of the neuronal profiler algorithm demonstrated that there was a significant increase in total neurite area coverage per DRG explant and in the total number of neurite branch points per DRG explant in MSC-CM compared to DRG explants in control medium (Figs. 3C & 3D). These measures were derived from the analysis of neurofilament 200kD specific immunostained DRG explants. This allowed for the specific quantitation of the entire neurite outgrowth from the DRG explants, compared to manual analysis, which only measured those DRG neurites where a growth cone could be identified and the neurite processes could be distinguished from surrounding networks. However, the number of outcome measures that could be ascertained via the high content analysis was more limited than for the SH-SY5Y cell line. For example, a direct comparison between the high content and manual analyses of neurite lengths could not be made in DRG explant cultures because of limitations in the neuronal profiler algorithm. The neuronal profiler algorithm was designed for the analysis of single neuronal cell cultures, hence, it references the origin of each neurite (identified in channel 2) to the nearest valid nucleus (identified in channel 1). This system was therefore inappropriate for measuring the lengths of neurites in chick DRG explant cultures, which have mixed cell populations comprised of non-neuronal as well as neuronal cells. Hence, the algorithm would identify neurites from their nearest valid nuclei which might not have belonged to a neuron. The lengths of neurites from chick DRG explants were therefore more accurately measured manually and MSC-CM was again shown to stimulate neurite outgrowth (Fig. 3E), as shown previously (Wright et al., 2007).

The amount of BDNF, VEGF, Il-6, SCF and SDF1a present in MSC-CM has been shown to vary considerably between MSC donors and also within donor MSC sub-populations (Neuhuber et al., 2005; Crigler et al., 2006). Furthermore, the degree of functional recovery in SCI models following MSC transplantation also varies (Neuhuber et al., 2005).  In this study we have identified a high throughput means for testing the capacity of MSC-CM to stimulate neurite outgrowth. The potential of this high content analysis may have application to the development of rapid pre-clinical screening techniques for optimized MSC transplantation for the treatment of SCI.

Acknowledgements

This study was funded by the Biotechnology and Biological Sciences Research Council (BBSRC) Industrial Interchange Programme.

References

Ankeny D P, McTigue D M & Jakeman L B. Bone marrow transplants provide tissue protection and directional guidance for axons after contusive spinal cord injury in rats. Exp Neurol 2004; 190(1): 17-31.

Crigler L, Robey RC, Asawachicharn A, Gaupp D, Phinney D: Human mesenchymal stem cell populations express a variety of neuron-regulatory molecules and promote neuronal cell survival and neuritogenesis. Exp Neurol 2006; 198: 54-64.

Johnson WEB, Caterson B, Eisenstein SM, Hynds DL, Snow DM, Roberts S: Human intevertebral disc aggrecan inhibits nerve growth in vitro. Arthritis. Rheum 2002; 46: 2658-64.

Himes BT, Neuhuber B, Coleman C, Kushner R, Swanger SA, Kopen GC, Wagner J, Shumsky JS, Fischer I. Recovery of function following grafting of human bone marrow-derived stromal cells into the injured spinal cord. Neurorehabil Neural Repair 2006; 2: 278-96.

Hofstetter CP, Schwarz EJ, Hess D, Widenfalk J, El Manria A, Prockop DJ, Olson L: Marrow stromal cells form guiding strands in the injured spinal cord and promote recovery.  Proc Natl Acad Sci 2002; 99: 2199-204.

Hynds D, Snow D: Neurite outgrowth inhibition by chondroitin sulphate proteoglycan: stalling/ stopping exceeds turning in human neuroblastoma growth cones. Exp Neurol 1999; 160: 244-55.

Hynds D, Snow D: A semi-automated image analysis method to quantify neurite preference/ axon guidance on a patterned substratum. J Neurosci Methods 2002; 121: 53-64.

Hynds DL, Spencer ML, Andres DA, Snow DM: Rit promotes MEK-independent neurite branching in human neuroblastoma cells. J Cell Sci 2003; 116: 1925-35.

Neuhuber B, Himes BT, Shumsky JS, Gallo G, Fischer I: Axon growth and recovery of function supported by human bone marrow stromal cells in the injured spinal cord exhibit donor variations. Brain Res 2005; 1035: 73-85.

Wright KT, Masri WE, Osman A, Roberts S, Chamberlain G, Ashton BA, Johnson WEB: Bone marrow stromal cells stimulate neurite outgrowth over neural proteoglycans (CSPG), myelin associated glycoprotein and Nogo-A. Biochem Biophys Res Comms 2007; 354: 559-66.

Figure Legends

Fig. 1. High content analysis versus manual analysis of SH-SY5Y stimulated by MSC-CM. A: High content analysis of SH-SY5Y cultures. Representative digitized images of identical fields are shown from top to bottom under fluorescence microscopy. Top panels show Hoechst stained nuclei; middle panels show immunolocalisation for neurofilament 200kD; bottom panels show merged images with the neuronal profiler algorithm mask applied. The algorithm mask identifies: valid nuclei (black circles); rejected nuclei (orange circles); selected cell bodies (dark blue circles), rejected cell bodies (red circles); selected neurites (pink, light blue and green lines, each colour was assigned per cell on a cyclical basis); neurite branch points (yellow squared points). Calibration bars = 20m. B: Hand tracing of SH-SY5Y cultures. Composite representative digitized images of identical fields are shown under phase contrast microscopy. The bottom panels show merged images with manually traced neurites (overlaid in red). Calibration bars = 100m.

# Fig. 2. Quantitation of neurite outgrowth from SH-SY5Y cells stimulated by MSC-CM using high content or manual analyses. A: Significantly more SH-SY5Y cells cultured in MSC-CM extended neurites than those cells cultured in control medium, as determined using high content analysis or manual analysis. No significant difference was seen between these two methods. B: Furthermore, SH-SY5Y cells in MSC-CM also extended more neurites per cell compared to SH-SY5Y cells in control medium when analysed using high content analysis. C: No significant difference was seen between the number of neurites per cell when cultures were analysed using manual analysis. D & E:  No significant difference in the length of these neurites was seen in MSC-CM compared to control medium when cultures were analysed using either high content or manual analysis. All data shown are means + SEM). F & G: High content analysis provided additional measures of the influence of MSC-CM on neurite outgrowth from SH-SY5Y cells. SH-SY5Y cells cultured in MSC-CM demonstrated a significantly increased total neurite area coverage per image (A) and branch point count per cell (B) than cells cultured in control medium. All data shown are means + SEM).

# Fig. 3. High content analysis versus manual analysis of chick DRG explant cultures stimulated by MSC-CM. A: High content analysis of DRG explant cultures. Representative digitized images of identical fields are shown from top to bottom under fluorescence microscopy. Top panels show Hoechst stained nuclei; middle panels show immunolocalisation for neurofilament 200kD; bottom panels show merged images with the neuronal profiler algorithm mask applied. The algorithm mask identifies: valid nuclei (black circles); rejected nuclei (orange circles); selected cell bodies (dark blue circles), rejected cell bodies (red circles); selected neurites (pink, light blue and green lines, each colour was assigned per cell on a cyclical basis); neurite branch points (yellow squared points). Calibration bars = 20 m. B: Hand tracing of chick DRG explant cultures. Composite representative digitized images of identical fields are shown under phase contrast microscopy. The bottom panels show merged images with manually traced neurites (overlaid in red). Calibration bars = 100 m. C & D: High content analysis demonstrated both a significantly increased total neurite area coverage and branch point count per DRG explant in MSC-CM compared with DRG explants in control medium. C: Manual analysis demonstrated that the length of the DRG neurites was significantly increased in MSC-CM versus control medium. All data shown are means + SEM).