Supplementary Figures

Figure S1. Illustration of the “Measurement Editor” feature using the IONTOF software. Cross sections are measured manually and are illustrated by the green line in (B). (A) Illustration of the change in C7H4N2Cl- ion intensity across the entirety of the tape strip. (B) Quantitative depth permeation measurement of C7H4N2Cl- ion distribution within porcine skin.

Figure S2. A. Chemical structure of CHG. B. Structure and m/z of CHG fragment used to map drug depth permeation using ToF-SIMS, previously discovered by Holmes et al.1. C. Mass spectra indicating specificity of C7H4N2Cl-ion to CHG (green peak) which is only present on tape strips taken from skin treated with CHG formulation. D. Tape strip images indicating specificity of C7H4N2Cl- ion to CHG. Each image represents a 4 mm × 4 mm area.

Figure S3. Changes in peak shape before (grey line) and after (red line) dead-time correction. Changes to Cl- peak before and after deadtime correction highlights the presence of peak saturation. However, for the peak of interest C7H4N2Cl- (m/z 151); C5H11NPO4- (m/z 180) and C27H45SO4-, (m/z 465.3), there were minimal changes to the peak before and after deadtime correction, suggesting there were minimal to no peak saturation.

Figure S4. A. Suggestion of a sweat gland (PO3-) with lack of CHG permeation (indicated by white arrows). B. Suggestion of a hair follicle (C27H45SO4-) with lack of CHG permeation (indicated by white arrows).